|  |  |  | # PORT OF SAN DIEGO SHIP REPAIR ASSOCIATION HOT WORK PERMIT NFPA 306/OSHA 1915/NAVSEA Standard Item 009-008/8010 |  |  |  |  |  |  |  | Company Logo Here |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Section to be Completed Prior to Submitting to Ship | # Vessel: |  |  |  |  |  |  | Trade/Company: |  |  |  |  |
|  | # Compartment Name: |  |  | Tac# and Frame#: |  |  |  |  | Deck BHD OVHD Stanchion Piping – what system_________________ |  |  |  |
|  |  |  |  |  |  |  |  |  | Upper LVL Mid LVL Lower LVL |  |  |  |
|  | # Adjacent/Affected Space Name: |  |  |  |  |  |  | Adjacent/Affected Tac# and Frame#: |  |  |  |  |
|  | Type of Hot Work: | Welding Stainless Steel Welding* Cutting Grinding Brazing Air Arcing Other: |  |  |  |  |  |  |  |  |  |  |
|  | *post warning signs (respirator required, hazardous substance work notice), ensure negative pressure ventilation installed, containment as required. |  |  |  |  |  |  |  |  |  |  |  |
|  | Brief Descripton of Work (i.e. welding foundation to deck): |  |  |  |  |  |  |  |  |  |  |  |
|  | # Gas Free Required in Space or Adjacent Space or System? # Yes No |  |  |  | # Gas Free Work Scope # |  |  | Gas Free Status Not Required | Safe for Workers Not Safe for Workers |  |  | Safe for Hot Work Limited Hot Work Inerted Atmosphere |
|  | Instruction beyond MCC / Gas Free Log / Safety: |  |  |  |  |  |  |  |  |  |  |  |
|  | Start Date: |  | Start Time: |  |  | Supervisor Name: |  |  |  | Supervisor Badge: |  |  |
|  | Finish Date: |  | Finish Time: |  |  | Supervisor Signature: |  |  |  | Supervisor Phone #: |  |  |
| Ship’s Force Signature/Acknowledgement of Notification: |  |  |  |  |  |  |  |  |  |  |  |  |
| This notice is effective for 24 hours unless a shorter period of time is specified or loss of gas free status. Loss of gas free status in the location(s) above cancels this hot work notice. An inspection of the area 30 minutes after completion of hot work is the final action required to close this notice. |  |  |  |  |  |  |  |  |  |  |  |  |  |

| Precautions taken that shall be in place PRIOR to start of work, by each hot worker, while permit is in effect |  |  |  |  |  |  |  |  |  | Each Hot Worker Print Name, Badge#, & Initial PRIOR to Start of Work to Verify Items 1-8 of this Section Remain SATISFACTORY |  | Time | Time | Time | Time | Time | Time |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Section to be Completed at Work Site During PAI/HW Coordinator Inspection | 1. |  | Fully charged fire extinguisher(s) with intact tamper seal & cotter pin. |  |  |  | SAT |  |  |  | Initials |  |  |  |  |  |  |
|  | 2. |  | 35 ft. area clear of combustible material. If any material is still present, list the means used for mitigation, and/or justification for why removal is impractical below: |  |  |  | SAT |  |  |  |  |  |  |  |  |  |  |
|  | 3. |  | Tanks, Voids, Cofferdams & Bilges Clean of Combustibles |  |  |  | SAT or N/A |  |  |  | Badge# |  |  |  |  |  |  |
|  | 4. |  | MCC/Gas Free Log/Gas Free Work Scope read and verified by each hot worker and fire watch |  |  |  | SAT or N/A |  |  |  |  |  |  |  |  |  |  |
|  | 5. |  | Qualified Fire Watch assigned in all required areas with proof of current qualification. List FW Location(s) below: |  |  |  | SAT |  |  |  | Print Name |  |  |  |  |  |  |
|  | 6. |  | Fire Watch able to observe all areas where fire hazard(s) exist, has immediate access, and communication. |  |  |  | SAT |  |  |  |  |  |  |  |  |  |  |
|  | 7. |  | Has proper ventilation been established in all required areas? |  |  |  | SAT or N/A |  |  |  |  |  |  |  |  |  |  |
|  | 8. |  | Paint and insulation removed at least 4 inches from hot work at all affected surfaces |  |  |  | SAT or N/A |  |  |  |  |  |  |  |  |  |  |
| PAI/Hot Work Supervisor (HWS) Authorization Required Prior to Hot Work on EACH Shift |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | PAI/HWS Name |  |  |  | PAI/HWS Badge# |  | PAI/HWS Signature |  |  | Time |  |  | Comments |  |  |  |
| 1st |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2nd |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3rd |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1st Shift PAI/HWS Validation of Hot Work Area – Minimum of ONE Validation per shift while work is in progress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Time |  |  |  |  |  | PAI/HWS Name |  | Badge# |  | PAI/HWS Signature |  |  |  | Comments |  |  |  |  |
| 2nd Shift PAI/HWS Validation of Hot Work Area – Minimum of ONE Validation per shift while work is in progress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Time |  |  |  |  |  | PAI/HWS Name |  | Badge# |  | PAI/HWS Signature |  |  |  | Comments |  |  |  |  |
| 3rd Shift PAI/HWS Validation of Hot Work Area – Minimum of ONE Validation per shift while work is in progress |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Time |  |  |  |  |  | PAI/HWS Name |  | Badge# |  | PAI/HWS Signature |  |  |  | Comments |  |  |  |  |
| Prior to Leaving: Exposed area(s) surveyed to determine whether there is any further potential for a fire hazard: SAT |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Reference Guide for PAI/Hot Work Supervisor |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| General Requirements |  |  |  |  |  |  |  |  | Requirements for hot work, fire watch, and fire monitoring |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Extinguishers are in service and operable |  |  |  |  |  | Fire watch is present during and for a minimum of 30 minutes after hot work |  |  |  |  |  |  |  |  |
|  |  |  |  | Hot work equipment is in good working condition in accordance with manufacturer’s specifications |  |  |  |  |  | Fire watch is provided with suitable extinguisher |  |  |  |  |  |  |  |  |
|  |  |  |  | Gas Free Work Scope identifies this work for this trade/sub and the work is specified on the Marine Chemist Certificate |  |  |  |  |  | Fire watch is trained in use of equipment and in sounding alarm – proof of qualification must be present and verified |  |  |  |  |  |  |  |  |
|  |  |  |  | Gas Free Log has been updated by a SYCP (if applicable) |  |  |  |  |  | Fire watch may be required in cases where hot work is to be accomplished on: Bulkheads, overheads, decks, or in cases when hot work may involve more than one level. |  |  |  |  |  |  |  |  |
|  |  |  |  | Prior to hot work on any hollow structure, evaluate if the void space should be tested and appropriate precautions taken |  |  |  |  |  | Fire watch and hot worker have an established means of communication |  |  |  |  |  |  |  |  |
|  |  |  |  | Hot work shall not be conducted during any logistics or maintenance movement of ammunition or explosives. |  |  |  |  | Requirements for hot work on bulkheads and/or overheads |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Type of piping identified (i.e. CHT, LP Air, etc.) |  |  |  |  |  | Remove combustible material within 35 ft. of the work site. This includes adjacent spaces when welding on bulkheads, overhead, and decks. |  |  |  |  |  |  |  |  |
|  |  |  |  | Paint coatings and lagging shall be stripped for a distance of at least 4 inches from the area of heat application. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Flammable liquid, dust, and oily deposits removed. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Explosive atmosphere in area eliminated |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Deck swept clean and trash removed. Residues and standing liquid must be cleaned up. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Contaminated lagging or insulation must be either cleaned, removed, or protected if it cannot be removed. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Other combustible material removed or covered with approved materials (welding pads, blankets, or curtains; fire resistive tarpaulins), metal shields, or noncombustible materials |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Ducting that might carry sparks to distant combustible material covered, protected, or shut down |  |  |  |  |  |  |  |  |  |  |  |  |  |  |